## Cover
Hourly Wind Speed Calibration
Calculator: HybridAEP — Hourly Wind Speed Calibration
Generated: 2026-09-18T10:56:51+00:00 UTC
Purpose
• | Derive a same-height multiplicative wind-speed bias factor from an ERA5 calibration period and a trusted reference, then apply that fixed factor to a selected ERA5 hourly application period. This preserves the application period's interannual variability.
Input data
• | Calibration ERA5 dataset: used only to derive K on a period consistent with the selected reference.
• | Reference long-term mean wind speed at the same comparison height.
• | Application ERA5 dataset: the newer/longer hourly series to which the fixed K is applied.
Method
• | K = reference mean / ERA5 mean over the calibration period.
• | The same fixed K is then applied to every hourly wind vector in the application dataset.
• | U and V are scaled by the same K, preserving wind direction.
• | Wind-speed calibration is performed before hub-height extrapolation and before the turbine power curve.
Workbook outputs
• | Summary: calibration-period ERA5 mean, reference mean, K, application-period ERA5 mean and corrected application mean.
• | Full calibrated hourly application series stored as compressed CSV on the VPS.
• | For long application periods, Excel contains a short hourly sample rather than the complete hourly series to protect VPS memory.
Limitations / use
• | This assumes the multiplicative spatial/model bias factor is stationary between the calibration and application periods.
• | Automatic stored ERA5 calibration currently operates at native ERA5 100 m.
• | A single factor does not correct sectoral, seasonal, distribution-shape, stability or extreme-wind biases.
• | Bankable assessment normally requires measurement-based MCP/long-term adjustment and full uncertainty analysis.
References
Global Wind Atlas | https://globalwindatlas.info/
ERA5 / Copernicus CDS | https://cds.climate.copernicus.eu/
atlite | https://atlite.readthedocs.io/
ERA5/GWA mean-bias methodology | https://doi.org/10.1016/j.energy.2021.121520

## Inputs
Parameter | Value
project_name | Zhytomyr_Vysoke_WPP2
latitude | 50.323212
longitude | 28.907742
comparison_height_m | 100
source_job_id | 6
apply_job_id | 6
source_name | Stored ERA5 / Manual
source_mean | 5.860982209393111
target_name | Measurement / Manual
target_mean | 5.860982209393111

## Summary
Parameter | Value
result_schema_version | 4
project_name | Zhytomyr_Vysoke_WPP2
source_name | ERA5 calibration job #6
reference_name | Measurement / Manual
calibration_source_mean_mps | 5.861
reference_mean_mps | 5.861
comparison_height_m | 100
bias_factor | 1
adjustment_percent | 0
application_source_mean_mps | 5.861
corrected_mean_mps | 5.861
source_job_id | 6
apply_job_id | 6
formula | K = mean_WS_reference / mean_WS_ERA5_calibration_period; WS_corrected_application(t) = K × WS_ERA5_application(t)
hourly_records | 175320
calibration_project_name | Zhytomyr_Vysoke_WPP2
calibration_period | 2006-2025
application_project_name | Zhytomyr_Vysoke_WPP2
application_period | 2006-2025
calibration_internal_dataset_filename | Zhytomyr_Vysoke_WPP2__ERA5__2006-2025__job000006__hourly_utc.csv.gz
application_internal_dataset_filename | Zhytomyr_Vysoke_WPP2__ERA5__2006-2025__job000006__hourly_utc.csv.gz
internal_dataset_path | /data/results/calibration/Zhytomyr_Vysoke_WPP2__Hourly_Wind_Speed_Calibration__job000007__hourly_calibrated.csv.gz
internal_dataset_filename | Zhytomyr_Vysoke_WPP2__Hourly_Wind_Speed_Calibration__job000007__hourly_calibrated.csv.gz

## Hourly_Sample
timestamp_utc | source_wind_speed_100m_mps | calibrated_wind_speed_100m_mps | wind_direction_100m_deg | calibrated_u100_mps | calibrated_v100_mps
2006-01-01 00:00 | 4.1097 | 4.1097 | 217.691 | 2.5127 | 3.2521
2006-01-01 01:00 | 4.055 | 4.055 | 202.7649 | 1.5691 | 3.7391
2006-01-01 02:00 | 4.3349 | 4.3349 | 192.9419 | 0.97086 | 4.2248
2006-01-01 03:00 | 4.7039 | 4.7039 | 183.8994 | 0.31989 | 4.693
2006-01-01 04:00 | 5.2221 | 5.2221 | 176.4881 | -0.31989 | 5.2123
2006-01-01 05:00 | 5.587 | 5.587 | 173.4249 | -0.63974 | 5.5502
2006-01-01 06:00 | 5.731 | 5.731 | 173.4994 | -0.64883 | 5.6942
2006-01-01 07:00 | 5.7717 | 5.7717 | 176.1829 | -0.38423 | 5.7589
2006-01-01 08:00 | 5.4329 | 5.4329 | 176.4754 | -0.334 | 5.4226
2006-01-01 09:00 | 4.5848 | 4.5848 | 171.3402 | -0.69032 | 4.5326
2006-01-01 10:00 | 4.5661 | 4.5661 | 170.0732 | -0.78716 | 4.4978
2006-01-01 11:00 | 4.5744 | 4.5744 | 166.4356 | -1.0729 | 4.4468
2006-01-01 12:00 | 4.5936 | 4.5936 | 157.8795 | -1.7297 | 4.2555
2006-01-01 13:00 | 5.0265 | 5.0265 | 149.1728 | -2.5758 | 4.3163
2006-01-01 14:00 | 5.859 | 5.859 | 141.1006 | -3.6792 | 4.5598
2006-01-01 15:00 | 6.7225 | 6.7225 | 134.9941 | -4.754 | 4.7531
2006-01-01 16:00 | 7.1086 | 7.1086 | 133.0017 | -5.1988 | 4.8482
2006-01-01 17:00 | 7.3979 | 7.3979 | 133.8604 | -5.3341 | 5.126
2006-01-01 18:00 | 7.5227 | 7.5227 | 135.0059 | -5.3188 | 5.3199
2006-01-01 19:00 | 7.5225 | 7.5225 | 137.0504 | -5.1255 | 5.5061
2006-01-01 20:00 | 7.6298 | 7.6298 | 137.3929 | -5.1651 | 5.6156
2006-01-01 21:00 | 8.079 | 8.079 | 137.0962 | -5.4999 | 5.9179
2006-01-01 22:00 | 8.1732 | 8.1732 | 138.5644 | -5.4088 | 6.1274
2006-01-01 23:00 | 8.0286 | 8.0286 | 138.9317 | -5.2745 | 6.053
2006-01-02 00:00 | 7.9658 | 7.9658 | 138.7326 | -5.254 | 5.9874
2006-01-02 01:00 | 7.7192 | 7.7192 | 138.5342 | -5.1114 | 5.7844
2006-01-02 02:00 | 7.4727 | 7.4727 | 138.1442 | -4.9862 | 5.5658
2006-01-02 03:00 | 7.6333 | 7.6333 | 135.3836 | -5.3613 | 5.4336
2006-01-02 04:00 | 7.9677 | 7.9677 | 132.3635 | -5.8872 | 5.3689
2006-01-02 05:00 | 8.1793 | 8.1793 | 132.5662 | -6.024 | 5.5328
2006-01-02 06:00 | 8.3002 | 8.3002 | 134.5893 | -5.9111 | 5.8269
2006-01-02 07:00 | 9.0051 | 9.0051 | 134.5133 | -6.4215 | 6.3133
2006-01-02 08:00 | 8.7145 | 8.7145 | 133.2104 | -6.3515 | 5.9667
2006-01-02 09:00 | 8.2393 | 8.2393 | 133.87 | -5.9398 | 5.71
2006-01-02 10:00 | 8.5531 | 8.5531 | 141.7395 | -5.2964 | 6.716
2006-01-02 11:00 | 7.9709 | 7.9709 | 139.9753 | -5.1262 | 6.1038
2006-01-02 12:00 | 8.2587 | 8.2587 | 135.5916 | -5.7792 | 5.8997
2006-01-02 13:00 | 9.0058 | 9.0058 | 138.919 | -5.9179 | 6.7884
2006-01-02 14:00 | 9.3284 | 9.3284 | 138.6526 | -6.1626 | 7.003
2006-01-02 15:00 | 9.6938 | 9.6938 | 137.2678 | -6.5779 | 7.1204
2006-01-02 16:00 | 9.7916 | 9.7916 | 135.4356 | -6.8708 | 6.9761
2006-01-02 17:00 | 9.7802 | 9.7802 | 133.1915 | -7.1304 | 6.694
2006-01-02 18:00 | 9.7695 | 9.7695 | 132.0432 | -7.2552 | 6.5426
2006-01-02 19:00 | 9.6055 | 9.6055 | 131.8632 | -7.1536 | 6.4103
2006-01-02 20:00 | 9.4642 | 9.4642 | 131.0462 | -7.1377 | 6.2148
2006-01-02 21:00 | 9.3047 | 9.3047 | 131.2556 | -6.995 | 6.1357
2006-01-02 22:00 | 8.6354 | 8.6354 | 133.9869 | -6.2131 | 5.9972
2006-01-02 23:00 | 8.3284 | 8.3284 | 133.4309 | -6.0481 | 5.7256
2006-01-03 00:00 | 8.3697 | 8.3697 | 130.7871 | -6.3371 | 5.4675
2006-01-03 01:00 | 8.3679 | 8.3679 | 126.7558 | -6.7043 | 5.0074
2006-01-03 02:00 | 8.3185 | 8.3185 | 124.9136 | -6.8213 | 4.761
2006-01-03 03:00 | 8.2583 | 8.2583 | 123.7999 | -6.8626 | 4.5941
2006-01-03 04:00 | 8.005 | 8.005 | 123.6719 | -6.662 | 4.4383
2006-01-03 05:00 | 7.999 | 7.999 | 124.9228 | -6.5586 | 4.5792
2006-01-03 06:00 | 8.1255 | 8.1255 | 124.1378 | -6.7254 | 4.5599
2006-01-03 07:00 | 7.7637 | 7.7637 | 124.684 | -6.3841 | 4.4179
2006-01-03 08:00 | 7.8347 | 7.8347 | 128.2199 | -6.1553 | 4.8472
2006-01-03 09:00 | 7.8889 | 7.8889 | 131.6393 | -5.8957 | 5.2417
2006-01-03 10:00 | 7.067 | 7.067 | 130.916 | -5.3403 | 4.6285
2006-01-03 11:00 | 6.6867 | 6.6867 | 128.331 | -5.2453 | 4.1471
2006-01-03 12:00 | 6.4343 | 6.4343 | 124.5825 | -5.2974 | 3.6521
2006-01-03 13:00 | 6.3435 | 6.3435 | 118.877 | -5.5548 | 3.0635
2006-01-03 14:00 | 6.7765 | 6.7765 | 118.0908 | -5.9782 | 3.1908
2006-01-03 15:00 | 6.7676 | 6.7676 | 118.3286 | -5.9571 | 3.2114
2006-01-03 16:00 | 6.747 | 6.747 | 115.7163 | -6.0788 | 2.9276
2006-01-03 17:00 | 6.8999 | 6.8999 | 116.6507 | -6.1669 | 3.095
2006-01-03 18:00 | 6.7345 | 6.7345 | 120.691 | -5.7912 | 3.4373
2006-01-03 19:00 | 6.4442 | 6.4442 | 117.3962 | -5.7215 | 2.9653
2006-01-03 20:00 | 5.9869 | 5.9869 | 110.9535 | -5.591 | 2.141
2006-01-03 21:00 | 5.9517 | 5.9517 | 116.7182 | -5.3162 | 2.6759
2006-01-03 22:00 | 5.4695 | 5.4695 | 116.6949 | -4.8865 | 2.4571
2006-01-03 23:00 | 5.273 | 5.273 | 112.9626 | -4.8552 | 2.0572
2006-01-04 00:00 | 5.3831 | 5.3831 | 108.7202 | -5.0983 | 1.7277
2006-01-04 01:00 | 5.3994 | 5.3994 | 102.8987 | -5.2631 | 1.2053
2006-01-04 02:00 | 5.4029 | 5.4029 | 100.9151 | -5.3052 | 1.0231
2006-01-04 03:00 | 5.5624 | 5.5624 | 98.7901 | -5.4971 | 0.85002
2006-01-04 04:00 | 5.6788 | 5.6788 | 95.6429 | -5.6513 | 0.55838
2006-01-04 05:00 | 5.6053 | 5.6053 | 94.1783 | -5.5904 | 0.4084
2006-01-04 06:00 | 5.3636 | 5.3636 | 97.9479 | -5.3121 | 0.74164
2006-01-04 07:00 | 5.2773 | 5.2773 | 99.3541 | -5.2071 | 0.85774
2006-01-04 08:00 | 5.1669 | 5.1669 | 99.6936 | -5.0931 | 0.87
2006-01-04 09:00 | 4.97 | 4.97 | 97.3864 | -4.9288 | 0.63895
2006-01-04 10:00 | 4.4274 | 4.4274 | 98.9829 | -4.3731 | 0.6913
2006-01-04 11:00 | 4.078 | 4.078 | 89.1083 | -4.0775 | -0.063461
2006-01-04 12:00 | 4.2126 | 4.2126 | 81.5688 | -4.1671 | -0.61766
2006-01-04 13:00 | 4.6413 | 4.6413 | 76.7339 | -4.5175 | -1.0651
2006-01-04 14:00 | 4.7919 | 4.7919 | 80.3701 | -4.7244 | -0.80161
2006-01-04 15:00 | 4.9562 | 4.9562 | 79.3586 | -4.871 | -0.91522
2006-01-04 16:00 | 5.0193 | 5.0193 | 77.7945 | -4.9059 | -1.0612
2006-01-04 17:00 | 5.0225 | 5.0225 | 79.5362 | -4.939 | -0.91216
2006-01-04 18:00 | 5.0297 | 5.0297 | 79.1116 | -4.9391 | -0.95009
2006-01-04 19:00 | 5.0577 | 5.0577 | 78.9931 | -4.9647 | -0.96565
2006-01-04 20:00 | 4.5293 | 4.5293 | 78.9362 | -4.4451 | -0.86919
2006-01-04 21:00 | 4.2795 | 4.2795 | 75.9877 | -4.1521 | -1.0362
2006-01-04 22:00 | 3.7962 | 3.7962 | 66.7928 | -3.489 | -1.4959
2006-01-04 23:00 | 3.8676 | 3.8676 | 57.9271 | -3.2773 | -2.0537
2006-01-05 00:00 | 4.2214 | 4.2214 | 52.9518 | -3.3692 | -2.5433
2006-01-05 01:00 | 4.9006 | 4.9006 | 51.0477 | -3.8111 | -3.0809
2006-01-05 02:00 | 5.3037 | 5.3037 | 52.851 | -4.2274 | -3.2029
2006-01-05 03:00 | 5.6326 | 5.6326 | 56.6766 | -4.7065 | -3.0944
2006-01-05 04:00 | 5.6825 | 5.6825 | 60.672 | -4.9542 | -2.7834
2006-01-05 05:00 | 5.6378 | 5.6378 | 63.4162 | -5.0418 | -2.5229
2006-01-05 06:00 | 5.4959 | 5.4959 | 64.0521 | -4.9419 | -2.4048
2006-01-05 07:00 | 5.8096 | 5.8096 | 63.435 | -5.1962 | -2.5981
2006-01-05 08:00 | 5.6099 | 5.6099 | 63.1027 | -5.003 | -2.5379
2006-01-05 09:00 | 5.2655 | 5.2655 | 64.6223 | -4.7574 | -2.2567
2006-01-05 10:00 | 4.641 | 4.641 | 57.0589 | -3.8949 | -2.5237
2006-01-05 11:00 | 4.6988 | 4.6988 | 50.3742 | -3.6191 | -2.9967
2006-01-05 12:00 | 5.0184 | 5.0184 | 50.1167 | -3.8509 | -3.2179
2006-01-05 13:00 | 5.5014 | 5.5014 | 52.5911 | -4.3699 | -3.3421
2006-01-05 14:00 | 6.0926 | 6.0926 | 54.5797 | -4.965 | -3.5311
2006-01-05 15:00 | 6.56 | 6.56 | 56.8451 | -5.492 | -3.5877
2006-01-05 16:00 | 6.7585 | 6.7585 | 60.3532 | -5.8737 | -3.3431
2006-01-05 17:00 | 6.7713 | 6.7713 | 63.9367 | -6.0827 | -2.9751
2006-01-05 18:00 | 6.4501 | 6.4501 | 66.792 | -5.9282 | -2.5418
2006-01-05 19:00 | 6.242 | 6.242 | 69.6804 | -5.8536 | -2.1676
2006-01-05 20:00 | 6.2981 | 6.2981 | 73.1257 | -6.0269 | -1.8282
2006-01-05 21:00 | 6.5247 | 6.5247 | 77.9508 | -6.381 | -1.362
2006-01-05 22:00 | 5.9226 | 5.9226 | 77.5328 | -5.7829 | -1.2786
2006-01-05 23:00 | 5.9809 | 5.9809 | 71.9043 | -5.685 | -1.8577
2006-01-06 00:00 | 6.2379 | 6.2379 | 68.0267 | -5.7848 | -2.3341
2006-01-06 01:00 | 6.2561 | 6.2561 | 68.6244 | -5.8257 | -2.2802
2006-01-06 02:00 | 5.916 | 5.916 | 70.5975 | -5.58 | -1.9653
2006-01-06 03:00 | 6.0846 | 6.0846 | 70.5565 | -5.7376 | -2.0254
2006-01-06 04:00 | 5.8267 | 5.8267 | 68.6688 | -5.4275 | -2.1195
2006-01-06 05:00 | 5.7447 | 5.7447 | 67.9689 | -5.3253 | -2.1549
2006-01-06 06:00 | 5.466 | 5.466 | 63.7822 | -4.9037 | -2.4148
2006-01-06 07:00 | 5.6085 | 5.6085 | 61.1169 | -4.9109 | -2.709
2006-01-06 08:00 | 5.4789 | 5.4789 | 56.4658 | -4.567 | -3.0267
2006-01-06 09:00 | 5.558 | 5.558 | 53.3998 | -4.4621 | -3.3139
2006-01-06 10:00 | 5.4718 | 5.4718 | 53.159 | -4.3791 | -3.2809
2006-01-06 11:00 | 5.2851 | 5.2851 | 49.9428 | -4.0452 | -3.4012
2006-01-06 12:00 | 5.4321 | 5.4321 | 48.0896 | -4.0425 | -3.6285
2006-01-06 13:00 | 5.8549 | 5.8549 | 46.0247 | -4.2134 | -4.0654
2006-01-06 14:00 | 6.387 | 6.387 | 47.5429 | -4.7122 | -4.3115
2006-01-06 15:00 | 6.9805 | 6.9805 | 47.8399 | -5.1745 | -4.6853
2006-01-06 16:00 | 7.1631 | 7.1631 | 50.6146 | -5.5363 | -4.5452
2006-01-06 17:00 | 6.9255 | 6.9255 | 54.5925 | -5.6447 | -4.0126
2006-01-06 18:00 | 6.7429 | 6.7429 | 57.834 | -5.7079 | -3.5898
2006-01-06 19:00 | 6.5742 | 6.5742 | 58.7497 | -5.6203 | -3.4106
2006-01-06 20:00 | 6.5479 | 6.5479 | 57.7358 | -5.5369 | -3.4955
2006-01-06 21:00 | 6.571 | 6.571 | 57.3673 | -5.5337 | -3.5434
2006-01-06 22:00 | 5.8193 | 5.8193 | 55.0675 | -4.7708 | -3.3322
2006-01-06 23:00 | 5.7479 | 5.7479 | 55.9698 | -4.7635 | -3.2167
2006-01-07 00:00 | 5.7292 | 5.7292 | 55.2698 | -4.7085 | -3.264
2006-01-07 01:00 | 5.8671 | 5.8671 | 53.804 | -4.7348 | -3.4648
2006-01-07 02:00 | 5.9299 | 5.9299 | 52.3656 | -4.696 | -3.6209
2006-01-07 03:00 | 5.9336 | 5.9336 | 49.5511 | -4.5154 | -3.8495
2006-01-07 04:00 | 5.8904 | 5.8904 | 46.8487 | -4.2974 | -4.0286
2006-01-07 05:00 | 6.0021 | 6.0021 | 43.9908 | -4.1687 | -4.3182
2006-01-07 06:00 | 5.9104 | 5.9104 | 44.5589 | -4.147 | -4.2113
2006-01-07 07:00 | 5.5693 | 5.5693 | 45.5928 | -3.9786 | -3.8971
2006-01-07 08:00 | 4.1194 | 4.1194 | 43.8854 | -2.8556 | -2.969
2006-01-07 09:00 | 3.4933 | 3.4933 | 38.5477 | -2.1769 | -2.7321
2006-01-07 10:00 | 3.091 | 3.091 | 31.7382 | -1.626 | -2.6288
2006-01-07 11:00 | 2.8855 | 2.8855 | 18.1579 | -0.89922 | -2.7418
2006-01-07 12:00 | 3.2628 | 3.2628 | 8.8215 | -0.50037 | -3.2242
2006-01-07 13:00 | 3.6879 | 3.6879 | 4.2279 | -0.27188 | -3.6778
2006-01-07 14:00 | 4.1727 | 4.1727 | 359.9975 | 0.00018311 | -4.1727
2006-01-07 15:00 | 5.0727 | 5.0727 | 358.0654 | 0.17125 | -5.0698
2006-01-07 16:00 | 5.6409 | 5.6409 | 359.8576 | 0.014023 | -5.6409
2006-01-07 17:00 | 5.8051 | 5.8051 | 359.8283 | 0.017395 | -5.8051
2006-01-07 18:00 | 5.6715 | 5.6715 | 356.0523 | 0.39046 | -5.658
2006-01-07 19:00 | 5.4076 | 5.4076 | 350.0711 | 0.93242 | -5.3266
2006-01-07 20:00 | 5.2136 | 5.2136 | 347.0979 | 1.1641 | -5.0819
2006-01-07 21:00 | 5.1272 | 5.1272 | 347.1414 | 1.141 | -4.9986
2006-01-07 22:00 | 4.9549 | 4.9549 | 343.0817 | 1.4419 | -4.7405
2006-01-07 23:00 | 4.8553 | 4.8553 | 343.2973 | 1.3954 | -4.6504